Certificate Course on

‘Spectroscopic and Microscopic Methods in Chemistry’

Syllabus

Spectroscopy and Microscopy

Electromagnetic Spectrum, Spectroscopy, Microscopy, Optical Microscopy and Electron Microscopy, Basic Difference Between Spectroscopy and Microscopy, Fundamentals of Optical Measurements and Instrumentation, Theoretical as well as Practical Aspects of Optical Spectroscopy and Microscopy.

UV-Visible Spectroscopy

Introduction, Spectrophotometer, Principle of Absorption Spectroscopy, Beer-Lambert Law- Limitations and Deviations, Relation between transmittance and absorbance, Chromophore and Auxochrome, Types of bands, Instrumentation- Sources (UV and visible), Monochromator, Sample containers (Cuvette), Detector, Amplifier and recorder, Solvents, Determination of non-absorbing Substances, General rules for performing UV Spectroscopy, Presentation of Spectra, UV-Visible spectra of organic compounds, Effect of Conjugation, Effect of alkyl substitution and ring residues-Woodward- Fieser rule, Colour in compounds, Practical applications of UV-visible Spectroscopy.

Photoluminescence Spectroscopy

Introduction, Basic Principle, Photoluminescence, Different modes of Photoluminescence, Electronic Transitions, Factors affecting Photoluminescence, Instrumentation- Optical excitative sources, Wavelength selector, Cells, Detector, Photoluminescent spectra, Photoluminescence analysis, Phosphorescence, Comparison of Luminescence and UV-Visible absorption Methods, Applications, Limitations of PL Spectroscopy.

Scanning Electron Microscopy

Optical Microscopy and Limitations, Electron Microscopy, Scanning Electron Microscopy: Introduction, Principle, Electron- Specimen Interactions, Imaging modes, Analytical modes, Instrumentation- Electron gun and Optics, Samples and Sample holders, Electron beam interactions, Transducers, Data handling and Processing, Special techniques in SEM: Environmental SEM, FE- SEM, Elemental analysis and Imaging with X-rays : SEM- Energy Dispersive X- ray Spectroscopy- Generation of X- rays, Principle of analysis by EDS, Qualitative Analysis, Quantitative Analysis , Applications of SEM, Limitations of SEM , Basic differences between SEM and TEM.

Atomic Force Microscopy

Atomic Force Microscopy, History & Background, Working Principle, Instrumentation, Detection method, Modes of Operation- Tapping, Contact & Non-contact modes, Comparison with other microscopic techniques, Applications, Advantages and Limitations.

Course Outcomes

Upon completion of this course, the students will be able to:

- Understand the basic difference between spectroscopic and microscopic methods.

- Apply appropriate characterization techniques for microstructure examination.

- Determine appropriate spectroscopic technique to measure vibrational & electronic transitions.

- Identify the appropriate electron microscopy technique to investigate the composition of materials.

- Recognize the advanced scientific tools for materials’ electronic and optical characterization.

References

- G. Shinde, R.K. Godage, R. S. Jadhav, B. Manoj, B. Aniket, A Review on Advances in UV Spectroscopy, Research J. Science and Tech., 12 (1) 2020.

- R.D. Braun, Introduction to instrumental Analysis, 2nd Edition, 2019

- D.L. Pavia, G.M. Lampman, G.S. Kriz, J.R. Vyvyan, Introduction to spectroscopy 5e ,5th Edition, 2015.

- M.C. Gupta, Atomic and Molecular Spectroscopy, 1st Edition, 2007.

- H.H. Willard, L.L. Merritt, J.A. Dean, F.A. Settle, Instrumental Methods of Analysis, 7th edition,1988.

- Scanning electron microscopy and X- ray microanalysis, Goldstein, Newbury, Michael, Ritchie Joseph I. Goldstein Dale E. Newbury Joseph R. Michael Nicholas W.M. Ritchie John Henry J. Scott David C. Joy, 4th edition, Springer,2018.

- Principles of instrumental analysis, Skoog, Holler, Crouch, Cengage Learning, 6th edition, 2016.

- Quantitative chemical analysis, Daniel C. Harris, Seventh edition, 2007.

- Electron microscopy and analysis, Goodhew, John Humphreys, Richard Beanland, 3rd edition, 2001.

- Scanning electron microscopy, Ludwig Reimer, 2nd edition, Springer,1998.

- Gross, L.; Mohn, F.; Moll, N.; Liljeroth, P.; Meyer, G. (27 August 2009). "The Chemical Structure of a Molecule Resolved by Atomic Force Microscopy". Science 325 (5944): 1110–1114.

- Hinterdorfer, P; Dufrêne, Yf (May 2006). "Detection and localization of single molecular recognition events using atomic force microscopy". Nature methods 3 (5): 347–55.

- Trache, Andreea & Meininger, Gerald. (2008). Atomic force microscopy (AFM). Current protocols in microbiology. Chapter 2. Unit 2C.2.

- Ricardo Garcı́a, Rubén Pérez, Dynamic atomic force microscopy methods, Surface Science Reports, Volume 47, Issues 6–8, 2002, Pages 197-301

- Jawad, Akram. (2020). AFM Handbook; Theoretical Principles and Experimental Parameters (ISBN: 978-613-8-94061-6).